TEXT BLOCK

ASSMANN DIGITUS Stepped Patch Panel,DN-91412, to accommodate max. 24 19"/1HE universal modules

SPECIFICATIONS

------------------------------------------------------------------------------

OZ       Specification of Services                 Unit Price      Total Price

------------------------------------------------------------------------------

-.-.-	Composition:

Staggered arrangement of the Keystone Modules for improved damping performance between adjacent transmission channels

- for 24 modular jacks according to Cat.6A ISO/IEC 11801

- Housing material: SPCC, 1.5mm cold-rolled carbon steel according to JIS G3141-1996

- Back frame: SPCC, 1.5mm cold-rolled carbon steel according to JIS G3141-1996 5-8µm Ni-coated

- Suitable for 483mm (19") Rack Mount

- 1HE

- Integrated labeling areas

- Green/yellow marked grounding cable, 40cm length

- Black color similar to RAL 9005

Product: DIGITUS

Type: DIGITUS Modular Patch Panel, 24-port stepped

Item no. DN-91412

or equivalent. When submitting a tender, the bidder has

to prove the equivalence by submitting the corresponding

data sheets/certificates from an independent testing institute:

Make/type offered:

Materials:............EUR

Wages    :............EUR

Fully delivered and installed

Piece              ...........EUR     ...........EUR